## Foundation Pile - BOQ (2)
Project:
Client:
Title :
Revision:
Date:
Sr.No | Item Description | Unit | Quantity | Rate | Amount in INR | Remark
a. | TOPOGRAPHY SURVEY & SOIL INVESTIGATION SURVEY BOQ
1 | Mobilisation of Drilling equipment, instrument, plant, instruments etc | LS | 1 |  | 0
2 | Establishment of temporary benchmarks | LS | 1 |  | 0
3 | Detailed topographic survey with 0.5m contours | Sqm | 40000
4 | Survey of existing features & utilities | LS | 1
5 | Preparation of CAD drawings | LS | 1
6 | Setting & Shifting of rig at each bore hole location | Nos | 26 |  | 0
7 | Drilling exploratory bore holes of 100mm as diameter, in all types of soil, murrnm, upto top of the rock surface. (CR < 10%) | RM | 260 |  | 0
8 | Drilling Nx size exploratory bore holes in weathered rock/ rock & collecting rock samples. (CR> 10%) | RM | 130 |  | 0
9 | Conducting Standard Penetration Test (SPT) | Nos | 260 |  | 0
10 | Collecting undisturbed soil samples (UDS) with thin walled sampling tube and conforming to the specifications | Nos | 52 |  | 0
11 | Collection of ground water samples for chemical analysis | Nos | 3 |  | 0
12 | Collection of soil samples for chemical analysis | Nos | 26 |  | 0
13 | Providing GI Core Boxes to preserve samples | Nos | 26 |  | 0
14 | Supply of water tankers for drilling purpose | Nos | 26 |  | 0
15 | Refilling of bore holes and surface restoration | LS | 1 |  | 0
| LABORATORY TESTS |  |  |  | 0
1 | Natural moisture content (NMC) of soils by over drying method on UDS & b lock samples | Nos | RO
2 | Atterberg Limits of soil i.e. |  |  |  | 0
| Liquid Limit (LL) | Nos | 26 |  | 0
| Plastic Limit (PL) | Nos | 26 |  | 0
| Shrinkage Limit (SL) | Nos | 26 |  | 0
3 | Grain size analysis (GSA) of various soil samples by both mechanical sieve & hydrometer analysis | Nos | 26 |  | 0
4 | In situ dry density of soil samples from UDS and block samples | Nos | 26 |  | 0
5 | Specific gravity of soil | Nos | 26 |  | 0
6 | Unconfined compressive strength (UCS) of_soil samples | Nos | 3 |  | 0
7 | Consolidation tests on soils | Nos | RO
8 | Triaxial undrained test (UU) | Nos | RO
9 | Direct shear tests | Nos | RO
10 | Chemical analysis of soil to determine pH chloride & sulphate content | Nos | 3 |  | 0
11 | Chemical analysis of ground water to determine pH, Chloride & Sulphate content. | Nos | 3 |  | 0
12 | water absorption & Porosity test on rock sample | Nos | 26 |  | 0
13 | Dry Density of rock samples | Nos | 26 |  | 0
c. | Report |  |  |  | 0
1 | Preparation and submission of Geotechnical Investigation report with recommendations | LS | 1 |  | 0
| Sub-Total |  |  |  | 0
| Add GST @ 18% |  |  |  | 0
| Total amount including Taxes |  |  |  | 0
Notes :
1 | Upon approval of the quotation, work will commence within three to four days, contingent upon receipt of the formal work order, advance payment, and site clearance. Please be advised that the final report will be issued only upon receipt of the final payment.
2 | Clear access to the borehole location provided by client.
3 | The Reduced Levels of Borehole point provided by client before completion of field work.
4 | Permission from authorities to work in project area shall be taken by client
5 | Any disturbance due to local problems shall be tackled by the client. Additional charges shall be applied for demobilisation of equipment
6 | The rates presented herewith are valid only for a period of 30 days from the date of quotation
7 | The quantities presented herewith are assumed on the basis of working in the general project area. Actual quantites may vary and the final billing shall be done on the basis of actual quantities only.
Terms of payment
a. | 50% of quoted charges along with work order
b. | 40% on completion of field work & before submission of report.
c. | 10% on submission of report
For Global Geotechnics
Banking Details
Acc. Name | Global Geotechnics
Bank Name | ICICI Bank
A/C No. | 195705000807
Acc. Type | Current A/C
Branch | Dadar (West)
IFSC Code | ICIC0001957
GST No. | 27AALFG9610M1ZW
PA No. | AALFG9610M